NBS Specification:



This product is associated with the following NBS Create clause:

45-75-95/480 Corner guards

NBS Specification:

NBS Buliding logo

This product is associated with the following NBS clauses:

[M40 Stone/ Concrete/ Quarry/ Ceramic tiling/ Mosaic](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

* [110 TILING TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [115 NATURAL STONE COVERING TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [120 MOSAIC TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

[M41 Terrazzo tiling/ in situ terrazzo](https://www.ribaproductselector.com/products/terrazzo-tiling-in-situ-terrazzo/M41.aspx)

* [110 TERRAZZO TILING](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [120 IN SITU TERRAZZO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [130 PRECAST TERRAZZO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)
* [140 MARBLE TILING](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

[N10 General fixtures/ furnishings/ equipment](https://www.ribaproductselector.com/products/general-fixtures-furnishings-equipment/N10.aspx)

* [350 MISCELLANEOUS FITTINGS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

[P20 Unframed isolated trims/ skirtings/ sundry items](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

* [170 PROPRIETARY](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentHiddenFixingCornerGuards)

Product Specification:

Kent Surface Mount Corner Guards

• Manufacturer: Kent Stainless

Web: www.kentstainless.com

Email: info@kentstainless.com

Tel: +44 (0) 800 376 8377

Fax: +353 53 914 1802

Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

• Product reference: Kent Surface Mount Corner Guards

• Type: KCG-50 /KCG-60 /KCG-70 /KCG-80 /KCG-90 /KCG-100

• Material:

- Type: 1.4301 (304) stainless steel /1.4401 (316) stainless steel

- Thickness: 2 mm /3 mm

- Finish: 320 grit polished and electropolished /Bead blasted /Bead blasted and electropolished /Electropolished /Satin, 320 grit polished /Powder coated