NBS Specification:



This product is associated with the following NBS Create clause:

45-75-95/320 Metal skirtings

NBS Specification:



This product is associated with the following NBS clauses:

[M40 Stone/ Concrete/ Quarry/ Ceramic tiling/ Mosaic](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [110 TILING TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [115 NATURAL STONE COVERING TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [120 MOSAIC TO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

[M41 Terrazzo tiling/ in situ terrazzo](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [110 TERRAZZO TILING](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [120 IN SITU TERRAZZO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [130 PRECAST TERRAZZO](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [140 MARBLE TILING](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

[M50 Rubber/ plastics/ cork/ lino/ carpet tiling/ sheeting](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [770 SKIRTINGS](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

[P20 Unframed isolated trims/ skirtings/ sundry items](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

 [170 PROPRIETARY](https://www.ribaproductselector.com/Product.aspx?ci=23778&pr=kentstainless-Surface-ProtectionKentStainlessSkirting)

Product Specification:

Kent Stainless Skirting

 • Manufacturer: Kent Stainless

 Web: www.kentstainless.com

 Email: info@kentstainless.com

 Tel: +44 (0) 800 376 8377

 Fax: +353 53 914 1802

 Address: Ardcavan Works, Ardcavan Co Wexford, Ireland

 • Product reference: Kent Stainless Skirting

 • Type: KSS60 /KSS80 /KSS100

 • Length: 1200 mm /1500 mm /1800 mm /3000 mm

 • Material:

 - Type: 1.4301 (304) stainless steel /1.4401 (316) stainless steel

 - Thickness: 1.5 mm /2 mm /3 mm

 - Finish: 320 grit polished and electropolished /Bead blasted /Bead blasted and electropolished /Electropolished /Satin, 320 grit polished /Powder coated